Here Cj is the set of children of bus j, and the asterisk superscript in (1) denotes complex conjugation. Actual line loss is Ploss,t=Sbi,j∈Erij|Iij,t|2 MW. Inverter rating Siinv (MVA) determines its instantaneous reactive capability qi,tmax  (Mvar). First clip the previous action to the present capability interval, defining qi,tbase=clipqi,t−1,−qi,tmax ,qi,tmax . The nominal ramp rate Ri (Mvar/h) and one-hour interval Δt constrain actions relative to this base. AC evaluation checks

qi,tmax =Siinv2−Pi,tPV2, |qi,t|≤qi,tmax , |qi,t−qi,tbase|≤RiΔt, 0.95≤|Vi,t|≤1.05, |Iij,t|≤Iijmax .	(2)

θ contains all trainable parameters. At inference, qi,t=ai,tqi,tmax  converts network output to Mvar. The previous action is first clipped to the present capability interval, yielding the ramp reference qi,tbase. The network proposal qt is then projected onto the device intersection Qt. With projection Π and Λ={1,0.75,0.5,0.25,0}, the safety-screen candidates are